## Charger Table
Level 1 or L1 - 120-volt
Dedicated one (1) 120 v outlet per circuit.
(Typically for single user - NOT for Share use)
Power | Miles per Hour of Charging | Range Added with 10 to 12 Hours of Charge | Circuit Breaker (120v) | Comments | Recommendations
1.4 kWh | 4 ~ 5 miles | 42 ~ 58 miles | 20 Amp | Need to charge daily | PHEVs* and older limited-range EVs
Level 2 or L2 - 220-volt
One EV Charger per circuit.
(For Individual or Shared use)
Power | Miles per Hour of Charging | Range Added with 4 Hours of Charge | Circuit Breaker (220v) | Comments | Recommendations
3.3 kWh | 10 ~ 13 miles | 40 ~ 53 miles | 20 Amp | May need to charge daily | PHEVs* and older limited-range EVs
6.6~7.7 kWh | 20 ~ 30 miles | 80 ~ 120 miles | 40 Amp | Longer Range EVs may NOT need to charge daily | Adequate for PHEVs & most EVs
9.6 kWh | 29 ~ 40 miles | 115 ~ 155 miles | 60 Amp | No need to charge daily | Teslas and Ford Mach-e
11.5 kWh | ~ 34 miles | ~ 138 miles | 80 Amp | No need to charge daily | Newer trucks & SUVs like Ford F-150
* Most PHEVs cannot charge faster than 3.3 kWh and are limited to 10 to 13 hours of range per hour.

## Charger Elect Panel
Level 2 or L2 - 220-volt
One EV Charger per circuit.
(For Individual or Shared use)
Power | Miles per Hour of Charging | Range Added with 4 Hours of Charge | Circuit Breaker | Number of Plugs (Individual/Shared) | Panel Needs
3.3 kWh | 10 ~ 13 miles | 40 ~ 53 miles | 20 Amp | 2 EV Chargers | 2 - 20 Amp
3.3 kWh | 10 ~ 13 miles | 40 ~ 53 miles | 20 Amp | 4 EV Chargers | 4 - 20 Amp
3.3 kWh | 10 ~ 13 miles | 40 ~ 53 miles | 20 Amp | 8 EV Chargers | 8 - 20 Amp
3.3 kWh | 10 ~ 13 miles | 40 ~ 53 miles | 20 Amp | 10 EV Chargers | 10 - 20 Amp
3.3 kWh | 10 ~ 13 miles | 40 ~ 53 miles | 20 Amp | 12 EV Chargers | 12 - 20 Amp
6.6~7.7 kWh | 20 ~ 30 miles | 80 ~ 120 miles | 40 Amp | 2 EV Chargers | 2 - 40 Amp
6.6~7.7 kWh | 20 ~ 30 miles | 80 ~ 120 miles | 40 Amp | 4 EV Chargers | 4 - 40 Amp
6.6~7.7 kWh | 20 ~ 30 miles | 80 ~ 120 miles | 40 Amp | 8 EV Chargers | 8 - 40 Amp
6.6~7.7 kWh | 20 ~ 30 miles | 80 ~ 120 miles | 40 Amp | 10 EV Chargers | 10 - 40 Amp
6.6~7.7 kWh | 20 ~ 30 miles | 80 ~ 120 miles | 40 Amp | 12 EV Chargers | 12 - 40 Amp